## Install
Installation of antenna factor and standard value (limit line)
ADVANTEST
1.This file organization is as follows.
Ant_Lmt_Data |  | Appendix_Files
Original_Files
2.After installing the EMI software, (The installer is EMI Meas1ch_Vxx.zip)
Please copy all files to c:\Program files\U3700 1ch EMI Software holder. (Please overwrite…)
(note)When you want to default data, please copy the Original_Files holder.
3.As a result, the antenna factor and the measurement standard in measuring range 30M-1GHz and 1G-6(8) GHz
are installed. However, it doesn't include it in the cable loss and the correction such as amplifiers.
It files it to those corrections, that data is changed with the antenna factor editor, and overwrite,
or, the level correction function of Spectrum Analyzer is used. )
(note)How to distinguish file: |  | Antenna factor file name: Ant-standard-measurement frequency range
Standard file name: Lmt-standard-measurement A,B -maximum frequency
4.The antenna factor and the measurement standard value (limit line) of default are entered to EMI software.
(Default: antenna CBL6141A(30M-1G), 44Sa51(1-8G), and standard CISPR22-B-3m corresponding)
To change these, the antenna factor file and the standard file are selected and set.
(When the antenna factor and the standard file are newly made, it is similar. )
This state is saved once by the Save function. (save of measurement condition including antenna and standard)
Next time, the file to which the setting condition is saved by the Recall function is called and used.
5.The antenna factor and the measurement standard are as follows. Details are in the attached paper sheet.
| Use antenna: | 44Sa51 | 30M-1GHz | (It contains typical value.)
|  |  | 1G-6GHz | (It contains typical value.)
|  | TR17206 | 1G-8GHz | (Double Ridged Guide)
|  | CBL6141A | 30M-1GHz
| Measurement | CISPR22 | 30M-1GHz | A,B (3m)
| standard: | CISPR22 | 1G-6GHz | A,B (3m)
|  | EN55022 | 30M-1GHz | A,B (3m)
|  | EN55022 | 1G-6GHz | A,B (3m)
|  | VCCI | 30M-1GHz | A,B (3m)
|  | VCCI | 1G-6GHz | A,B (3m)
|  | FCC | 30M-1GHz | A,B (3m)
|  | FCC | 1G-8GHz | A,B (3m)

## Limit_Data
[10 empty] | Limit line |  | (MHz､dBuV)
- CISPR22/EN55022/VCCI
Radiation |  |  | 30 | 230 |  | 1000 | 1G | 3G |  | 6G |  |  | Conduction |  |  | 150k | 500k |  | 5M |  | 30M
3m | A | PK | - |  |  |  | 76 |  | 80 |  |  |  | PowerLINE | A | QP | 79 |  | 73
|  | QP | 50 |  | 57 |  | - | [7 empty] | Ave | 66 |  | 60
|  | Ave | - |  |  |  | 56 |  | 60 |  |  |  |  | B | QP | 66- | 56 | 56 |  | 60
| B | PK | - |  |  |  | 70 |  | 74 | [5 empty] | Ave | 56 - | 46 | 46 |  | 50
|  | QP | 40 |  | 47 |  | - | [5 empty] | Communication | A V | QP | 97 - | 87 | 87 (uV)
|  | Ave | - |  |  |  | 50 |  | 54 |  |  |  | Port |  | Ave | 84 - | 74 | 74 (uV)
[14 empty] | A A | QP | 53 - | 43 | 43 (uA)
[15 empty] | Ave | 40 - | 30 | 30 (uA)
[14 empty] | B V | QP | 84 - | 74 | 74 (uV)
[15 empty] | Ave | 74 - | 64 | 64 (uV)
[14 empty] | B A | QP | 40 - | 30 | 30 (uA)
[13 empty] | - V:A=44dB |  | Ave | 30 - | 20 | 20 (uA)
- FCC part15 subpartB
Radiation |  |  | 30 | 88 |  | 216 |  | 960 |  | 1000 | up to 40G |  | Conduction |  |  | 150k | 500k |  | 5M |  | 30M
3m | A | PK | - | [7 empty] | 73.9 |  | PowerLINE | A | QP | 79 |  | 73
|  | QP | 49.5 |  | 54 |  | 56.9 |  | 60 |  | -60 |  |  |  | Ave | 66 |  | 60
|  | Ave | - | [7 empty] | 53.9 |  |  | B | QP | 66 - | 56 | 56 |  | 60
| B | PK | - | [7 empty] | 69.5 |  |  |  | Ave | 56 - | 46 | 46 |  | 50
|  | QP | 40 |  | 43.5 |  | 46 |  | 54 |  | -54
|  | Ave | - | [7 empty] | 49.5

## Ant_Factor
CBL6141A |  | TR17206 |  | 44Sa51
(MHz) | (dB) | (GHz) | (dB) | (MHz) | (dB)
30 | 23 | 1 | 24 | 30 | 45
35 | 20.8 | 1.5 | 25.3 | 50 | 42
40 | 18.5 | 2 | 27.3 | 100 | 40
45 | 16.3 | 2.5 | 28.3 | 200 | 36
50 | 13.9 | 3 | 30.1 | 300 | 29.8
60 | 9.8 | 3.5 | 31.4 | 400 | 23
70 | 7.6 | 4 | 32.8 | 700 | 27
80 | 7.3 | 4.5 | 32.4 | 800 | 26.5
90 | 8.7 | 5 | 33.3 | 1000 | 28.5
100 | 10 | 5.5 | 34.6 | 2000 | 37
120 | 11.6 | 6 | 35.7 | 3000 | 40.7
125 | 11.9 | 6.5 | 35.1 | 4000 | 40.3
140 | 12.1 | 7 | 35.9 | 5000 | 42.7
150 | 12.1 | 7.5 | 36.7 | 6000 | 44.7
160 | 11.6 | 8 | 37 | 8000 | 50
175 | 10.2 | 8.5 | 37.4
180 | 10.1 | 9 | 37.8
200 | 10.7 | 9.5 | 37.9 | *Spec line
250 | 12.6 | 10 | 38.2
300 | 13.3 | 10.5 | 38.1
400 | 16.3 | 11 | 38.4
500 | 17.6 | 11.5 | 38.8
600 | 19.6 | 12 | 39.3
700 | 20.8 | 12.5 | 38.8
800 | 22.1 | 13 | 39.9
900 | 22.8 | 13.5 | 41.2
1000 | 24.3 | 14 | 42.3
1100 | 24.5 | 14.5 | 42.8
1200 | 25.4 | 15 | 40.3
1300 | 27.7 | 15.5 | 38.1
1400 | 27.1 | 16 | 37.4
1500 | 28.4 | 16.5 | 38.5
1600 | 28.3 | 17 | 40.8
1700 | 29.1 | 17.5 | 44.4
1800 | 31.6 | 18 | 45
1900 | 32.2
2000 | 32.8