## Opt74-79
August/20/99
Category | VI name | Contents
Configuration | AVR3267s TG On Off.vi | TG On/Off
| AVR3267s TG Output Level Setup.vi | TG Output Level
Opt74: 0 --- -50dBm
Opt79: 0 --- -10dBm
| AVR3267s TG Power Sweep Setup.vi | Start Level
Stop Level
Referense Line On/Off
Y/X dB
Offset dB
| AVR3267s TG Px dB Marker.vi | Px dB Marker
Continuous Px dB Marker On/Off
| AVR3267s TG Condition Display.vi | TG Setting Condition Display On/Off
Calibration | AVR3267s TG Level Calibration.vi | Execute: Level Calibration
| AVR3267s TG Level Cal On Off.vi | Level Calibration Factor On/Off
| AVR3267s TG Pwr Swp Calibration.vi | Execute: Power Sweep Calibraition
| AVR3267s TG Pwr Swp Cal On Off.vi | Power Sweep Calibration Factor On/Off
| AVR3267s TG Through Correction.vi | Execute: Through Correction
| AVR3267s TG Through Corr On Off.vi | Through Correction Function On/Off
| AVR3267s TG Tracking Mode.vi | Frequency Tracking Mode Auto/Manual(%)